SCHOOL PREMISES
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	Comments
	Action

	
COLD WATER SYSTEMS

	
Checked and monitored on a regular basis with a big flush through.  Flush through to be repeated 
4 September 2020
	
DD

	
DOMESTIC HOT WATER SERVICES
	
Checked and monitored on a regular basis with a big flush through.  Flush through to be repeated 4 September 2020
	
DD

	
GAS SAFETY
	
[bookmark: _GoBack]Gas supply checked and fired up 19 May 2020 and working (IR/DD/MC) – Dee to repeat prior to kitchen re-opening 7 September 2020.
	DD

	
KITCHEN EQUIPMENT
	
All kitchen equipment inspected including fridges and ventilation.  All in working order.  IR confirmed she will do a deep clean 2-4 September 2020.
	IG

	
FIRE ALARM/SECURITY
	
Fire and security alarm checked in accordance with CCC Fire Safety Regulations.

	
DD



